**Specification clause for EMCO Plaza Entrance Matting Systems**

N10 General Fixtures/Furnishings/Equipment 300 Entrance Matting

Product: 42mm EMCO Plaza entrance matting system to suit matwell size.......................

Inset Type: Coarse Fibre Ribs\*, Scraper Bar\*, Brush Strips\*, Rubber Inlay\*, Cassette Brush\*

Colour Choice: ................................................................

Supplied and installed by Syncros Entrance Matting Systems, Triumph Way, Kempston, Beds, MK42 7QB, and Tel. 01234 314314 / Fax 01234 314306 / E-mail: sales@syncros.co.uk in accordance with the manufacturer’s installation details.

*Delete as required \**